## DIY_Pirani
Pressure in mbar - as indicated by the Balzers TPR010 gauge tube on a Balzers unit
Voltage is the output of the DIY Pirani unit.
This is not to show the Varian Vacsorb pumping rate! The valve was only open slightly so that the voltage and pressure could be recorded manually and both vacuum indicators would be in equilibrium.

Measurements of the Varian “R2D2” unit pumped by the Vacsorb cryo pumps.
					Voltage vs. Pressure
			DIY Pirani, GE 120V 6W "Indicator6" / time, seconds / Voltage					Torr	Output (V)
1 torr = 1.333224 mbar = 133.3224 Pa					760.00	10
760 torr = 760 mm Hg = 1atm					75.00	9.55
					7.50	8.85
time, s	V	mbar	torr					0.75	5.9
0	10	1013	760.00					0.38	4.69
20	9.55	100	75.00					0.15	3.22
40	8.85	10	7.50					0.08	2.49
110	5.9	1	0.75					0.04	1.83
140	4.69	5.00E-001	0.38					0.02	1.35
245	3.22	2.00E-001	0.15					0.01	1.22
295	2.49	1.00E-001	0.08					Light-Bulb Pirani Gage / Pressure (Torr)
355	1.83	5.00E-002	0.04
595	1.35	2.00E-002	0.02
1075	1.22	1.40E-002	0.01

			Leak Test / time, min / Voltage
time, min	V	mbar
0	1.22
10	1.34
20	1.45
30	1.52
40	1.58
50	1.65
60	1.72
70	1.78
80	1.84
90	1.88
100	1.93
120	2.02
150	2.12
180	2.22	7.60E-002
210	2.3
240	2.37
270	2.42